|  | Daily Checks w/c |  | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |  | Sunday |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Date : |  |  |  |  |  |  |  |  |  |  |
| 1 | Drug Checks Two people (1 must be a clinician), to check these drugs every day. |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Midazolam, Diazepam & Morphine (Oramorph), Codeine |  |  |  |  |  |  |  |  |  |  |
|  | Oxycodone, Morphine Sulphate |  |  |  |  |  |  |  |  |  |  |
| 2 | Consulting Room Boxes |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check contents against list on box, report to SM any missing items. |  |  |  |  |  |  |  |  |  |  |
| 3 | Panic Alarms |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | All in a small box in host cupboard, ensure they are back in the box end of shift |  |  |  |  |  |  |  |  |  |  |
| 4 | Patients and downloads folder (on desktop) |  |  |  | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Please make sure its clear start and end of shift |  |  |  |  |  |  |  |  |  |  |
| 5 | Check respiratory hood and HCIS cleaning box are present and complete |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check contents against list on both boxes Clean contents and box itself with Clinell wipe |  |  |  |  |  |  |  |  |  |  |
| 6 | Resus bag - Location: Store cupboard in corridor |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check contents as per contents sheet, replace any stock if needed. Check any OOD and log any imminent. Ensure green tick is showing which indicates Defib is working. Clean defib with Clinell wipe |  |  |  |  |  |  |  |  |  |  |
| 7 | Blood Taking Box |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Ensure missing items are replaced from stock, check expiry dates and replace as required |  |  |  |  |  |  |  |  |  |  |
| 8 | Sharps boxes |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Should not exceed the 3-month date, should be closed but not locked, any overfilled/not closed boxes to be reported |  |  |  |  |  |  |  |  |  |  |
| 9 | Manual Scripts |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Count and record manual prescription packs in Audit book |  |  |  |  |  |  |  |  |  |  |
| 10 | Emergency drugs - Location: Inside drugs cupboard in store room |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Ensure drugs are in the appropriate drugs cupboard in store room |  |  |  |  |  |  |  |  |  |  |
| 11 | Oxygen - Location: Small and Large bottles |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Please accurately indicate in the signature box the levels as below: EMPTY / ¼ FULL / ½ FULL / ¾ FULL / FULL | LARGE Cylinder Room 4 |  |  |  |  |  |  |  |  |  |
|  |  | Large Cylinder Driver’s cupboard |  |  |  |  |  |  |  |  |  |
|  |  | Small Cylinder, Driver’s cupboard |  |  |  |  |  |  |  |  |  |
| 12 | Medication issued from stock form |  |  |  |  |  |  |  |  |  |  |
|  | Ensure previous dated meds form is put in post box regardless of any meds issued |  |  |  |  |  |  |  |  |  |  |
| 13 | Monitoring Drug Temperatures – Location: Drug Cabinet |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check temp and record Min and Max temp - If the alarms go off whilst on shift, please let the shift manager know |  | MIN: MAX: | MIN: MAX: | MIN: MAX: | MIN: MAX: | MIN: MAX: | MIN: MAX: |  | MIN: MAX: |  |
| 14 | Handwash Audits |  | Daily | Daily | Daily | Daily | Daily | AM | PM | AM | PM |
|  | Check which clinicians need handwash by logging into Radar Handwash Initial when completed handwash. |  |  |  |  |  |  |  |  |  |  |
|  | Weekly Checks |  | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |  | Sunday |  |
| 15 | Health and Safety Checks Weekly |  |  | Weekly |  |  |  |  |  |  |  |
|  | Complete H&S checklist, keep original in folder and flag any concerns |  |  |  |  |  |  |  |  |  |  |
| 16 | Paediatric/Adult pulse oximeter - Location: Store Room within Sats monitor box Weekly |  | Weekly |  |  |  |  |  |  |  |  |
|  | Switch on machine, place on finger and ensure it takes a reading. Ensure Adult, child and Infant leads are available Clean the machine and box itself with Clinell wipe |  |  |  |  |  |  |  |  |  |  |
| 17 | Nebuliser box |  |  |  | Weekly |  |  |  |  |  |  |
|  | Collect nebuliser box from the store room and ensure it is available for clinicians Check the machine powers on, and clean it with a Clinell wipe Ensure there is 1 x adult and 1 x paediatric nebuliser mask within the nebuliser box, checking the expiry dates and restocking where necessary |  |  |  |  |  |  |  |  |  |  |
| 18 | Doppler Weekly |  |  |  |  |  | Weekly |  |  |  |  |
|  | Check Doppler is stored in cupboard and the equipment turns on. Clean the machine with Clinell wipe |  |  |  |  |  |  |  |  |  |  |
| 19 | Blood Glucose Machine / Dual Keytone Weekly Check |  |  |  |  | weekly |  |  |  |  |  |
|  | Host to check machine as per guidelines Clean the machine and box itself with Clinell wipe |  |  |  |  |  |  |  |  |  |  |
| 20 | Respiratory Hood needs charging once a week. |  |  |  |  | Weekly |  |  |  |  |  |
|  | Host to plug in the battery into charging unit for 3 hours See emailed instructions |  |  |  |  |  |  |  |  |  |  |
|  | BASE SPECIFIC CHECKS: |  | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday |  | Sunday |  |
| 21 | Clinical Waste |  |  |  |  |  |  |  |  | Weekly |  |
|  | Please ensure the clinical waste bag is emptied if full, tagged and put in the clinical waste bin near staff entrance – keys on hook behind reception desk. This is essential before closing on a Sunday. |  |  |  |  |  |  |  |  |  |  |
|  | Sample safe checks |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check of sample safe at the beginning and end of shift |  |  |  |  |  |  |  |  |  |  |
| 22 | Headsets |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Record how many and report any issues |  |  |  |  |  |  |  |  |  |  |
| 23 | Panic Alarms- in reception Area and consulting rooms |  | Daily | Daily | Daily | Daily | Daily | Daily |  | Daily |  |
|  | Check Panic Alarm in reception area states ‘ System Ready’ |  |  |  |  |  |  |  |  |  |  |

- dhfjhfjjf

Week end date. ………